# V

- RS 485

- Resistance as per customer request

Float Level Transmitter consists of nonmagnetic sealed stem containing series of reed switches and resistor, Float carrying magnet, mounting adaptor (or flange) and enclosure containing electronics.

Consider our Float Level Transmitters for all your continuous liquidlevel monitoring needs like Water, Diesel, Lube oils, Fuels, Chemicals and Petrochemical liquids.

Float Level Transmitters does not work satisfactorily in highly contaminated liquids ans liquids with high viscosity.

DC POWER

4 - 20 mA

-

-

TRANSMITTER

LEVEL

FLOAT

STEM

E C T R O N I C S

B : 3 wire 0 - 10V DC

DC POWER SUPPLY

USER INSTRUMENT

O/P

-

LEVEL TRANSMITTER

R - Resistive O/P 4 - RS 485

Mounting Material

3 - 34mm Nylon Foam

4 - 40mm dia SS 316

5 - 52mm SS 316

6 - 68mm SS 316

P - 50mm dia PP

PP - Polypropylene

Mounting

10 - 100 dia 80 PCD

75 - 75 dia 60 PCD

1D - 1” Table ‘D’ 1A - 1” ANSI 150#

2D - 2” Table ‘D’ 2A - 2” ANSI 150#

ND - 2  ” Table ‘D’ NA - 2 ” ANSI 150# 4B -  ” BSP

1B - 1” BSP NB - 1 ” BSP 2B - 2” BSP

NS - Non std mounting

Levtron Instruments Pvt Ltd.

Office No 2, 1st floor, plot no 6, Pandhari Industrial estate, Shivane. Pune 411023,

Contact: 09579430012 / 9730042725 E-mail: sales@levtron.in ; Website : www.Levtron.in

n ISO 9001:2015 Company